General recommendations for the maintenance and cleaning of organic coated surfaces.

In order to prevent the accumulation of contaminants that may adversely affect the appearance of organic coated surfaces (e.g. dust), it is necessary to ensure their natural cleaning through precipitation. If dust, dirt, etc. nevertheless collect on the surface of the product, they must be removed with soap and water.

Wall and roof surfaces that are not naturally cleaned will be subject to regular maintenance with the following minimum conditions:

- Annual cleaning without the use of abrasive or aggressive agents; documenting compliance with this condition it is the responsibility of the Beneficiary.

Any components on which corrosion begins to develop for various reasons shall be remedied without delay. These elements shall be subject to the measures in question in a systematic manner.

Garage doors require regular maintenance according to industry guidelines. Cleaning with pH-neutral soap and water is recommended. In any case, the customer must make every effort to ensure that the cleaning process and the agents used do not damage the coating.